Практическое занятие № 5 «Ремонт труб»

1.Read and translate the text

Pipe Repair

Pipes make up the backbone of your home’s plumbing structure. Without proper maintenance of pipes, your entire plumbing system could collapse.

The key to maintaining healthy pipes is catching problems early. A pinhole may seem minor, but it could quickly lead to a massive leak. These holes must be patched right away. Pinch a pipe repair clamp around the hole, and check surrounding parts for other signs of corrosion. Always ensure the area is clean and dry before applying a clamp.

For large holes or split pipes, you may need to cut the affected area and slice a new piece into the gap. Make sure you smooth any burrs around pipe edges with sandpaper after cutting. Then secure the replacement piece with ferrules. Take care to leave adequate overlap between the new piece and existing pipe.

Some types of pipe, such as braided-stainless-steel hoses, can be difficult to patch. Fortunately, these connections are often short, so the whole pipe is easily replaced.

And remember, always turn off the water supply before performing any pipe repairs. Otherwise, your small leak could turn into a massive flood.

2.Answer the questions:

a) What are some different types of leaks that form in pipes?

b) Which repair methods are best for different types of leaks?

c) What grammatical phenomena can you analyze in the text?

d) Find in the text the sentences in Present Simple. Read them and analyze the verbs.

e) Find the Genitive case. Give an example.

3.Complete the table using information from the text

4.Write the word that is similar in meaning to the underlined part

1 The plumber attached a metal ring that secures pipe ends to the replacement piece. _ _ r r _ _ e

2 You must tightly press the clamp to the damaged pipe before securing it. _ _ n c _

3 Use paper with rough side to smooth the pipe’s edges.

s_ _ d _ _ p _ _

4 A cracked or broken pipe can cause serious plumbing problems. _ p l _ _

5 Gradual, chemical weakening of the pipe caused it to leak. _ o r _ _ _ I o _

5.Fill in the blanks with the correct words and phrases from the word bank

Word bank: braided-stainless-steel, pipe repair clamp, burr, pinhole, splice, overlap

1 The major leak started as a tiny ______________.

2 Remember to ______________ in a new piece when the pipe has a large crack or hole.

3 If the ______________ is too small, the pipe joint might leak.

4 Cutting the pipe formed a(n) ______________ along the edge.

5 If the hole is small, fix it with a(n) ______________ .

- The sink faucet is attached to a flexible _____________.

6.Mark the following statements as true (T) or false (F) having read the text “Pipe Repair”

- The pipe has a pinhole leak.

- The woman suggests a pipe repair clamp.

- The plumbers will remove part of the pipe.

4 Pipes make up the backbone of your home’s plumbing structure.

7.Translate the following words:

braided-stainless-steel, pipe repair clamp, burr, pinhole, splice, overlap, ferrules, a leak, split pipe

8.Make up a dialogue on the theme “Pipe Repair”.

9.Retell the text (10 -15 sentences).